## Report
Ctrl Z Returns Menu
|  | BASTROPIC |  |  |  | Daily Natural Gas Report |  |  |  | Ctrl Z = Menu
|  | Name of Operator |  |  |  | Joe
|  | Date |  |  |  | 09/07/19
|  | Type of Chart |  |  |  | L10-100
|  | Chart Number |  |  |  | 12345
|  | Machine Number |  |  |  | 67890
|  | Location |  |  |  | Los Angeles
|  | Static Pres. |  |  |  |  | Diff Pres
| Hrs. | 15min | 30min | 45min | 60min | Average | 15min | 30min | 45min | 60min | Average |  | TEMP
| 00:00 | 5.0046 | 5.8554 | 6.2124 | 6.3933 | 5.8664 | 25.1754 | 34.2982 | 38.5965 | 40.8772 | 34.7368 |  | 347.3684
| 01:00 | 6.536 | 6.6028 | 6.6226 | 6.6491 | 6.6026 | 42.7193 | 43.5965 | 43.8596 | 44.2105 | 43.5965 |  | 435.9649
| 02:00 | 6.6425 | 6.6028 | 6.5628 | 6.5293 | 6.5843 | 44.1228 | 43.5965 | 43.0702 | 42.6316 | 43.3553 |  | 433.5526
| 03:00 | 6.1192 | 5.7277 | 5.8638 | 6.0623 | 5.9433 | 37.5439 | 32.807 | 34.386 | 36.7544 | 35.3728 |  | 353.7281
| 04:00 | 6.2126 | 6.2688 | 6.2618 | 6.1486 | 6.223 | 38.5965 | 39.2982 | 39.2105 | 37.807 | 38.7281 |  | 387.2807
| 05:00 | 5.96 | 5.7581 | 5.6739 | 5.9953 | 5.8468 | 35.5263 | 33.1579 | 32.193 | 35.9649 | 34.2105 |  | 342.1053
| 06:00 | 6.5286 | 6.7082 | 6.6819 | 6.576 | 6.6237 | 42.6316 | 45 | 44.6491 | 43.2456 | 43.8816 |  | 438.8158
| 07:00 | 6.4277 | 6.2757 | 6.1914 | 6.1487 | 6.2609 | 41.3158 | 39.386 | 38.3333 | 37.807 | 39.2105 |  | 392.1053
| 08:00 | 6.1559 | 6.2617 | 6.4208 | 6.5091 | 6.3369 | 37.8947 | 39.2105 | 41.2281 | 42.3684 | 40.1754 |  | 401.7544
| 09:00 | 6.4888 | 6.3314 | 6.1984 | 6.1416 | 6.29 | 42.1053 | 40.0877 | 38.4211 | 37.7193 | 39.5833 |  | 395.8333
| 10:00 | 6.113 | 6.113 | 6.163 | 6.2337 | 6.1556 | 37.3684 | 37.3684 | 37.9825 | 38.8596 | 37.8947 |  | 378.9474
| 11:00 | 6.3659 | 6.4821 | 6.5695 | 6.5828 | 6.5001 | 40.5263 | 42.0175 | 43.1579 | 43.3333 | 42.2588 |  | 422.5877
| 12:00 | 6.5828 | 6.5895 | 6.6028 | 6.6094 | 6.5961 | 43.3333 | 43.4211 | 43.5965 | 43.6842 | 43.5088 |  | 435.0877
| 13:00 | 6.6094 | 6.6094 | 6.6094 | 6.6094 | 6.6094 | 43.6842 | 43.6842 | 43.6842 | 43.6842 | 43.6842 |  | 436.8421
| 14:00 | 6.6819 | 6.8886 | 6.7727 | 6.5224 | 6.7164 | 44.6491 | 47.4561 | 45.8772 | 42.5439 | 45.1316 |  | 451.3158
| 15:00 | 6.4887 | 7.102 | 7.0958 | 7.0524 | 6.9347 | 42.1053 | 50.4386 | 50.3509 | 49.7368 | 48.1579 |  | 481.5789
| 16:00 | 6.9899 | 6.9961 | 6.9395 | 6.8248 | 6.9376 | 48.8596 | 48.9474 | 48.1579 | 46.5789 | 48.136 |  | 481.3596
| 17:00 | 6.8056 | 6.8184 | 6.8888 | 6.9711 | 6.871 | 46.3158 | 46.4912 | 47.4561 | 48.5965 | 47.2149 |  | 472.1491
| 18:00 | 7.0524 | 7.1082 | 7.0461 | 7.1267 | 7.0833 | 49.7368 | 50.5263 | 49.6491 | 50.7895 | 50.1754 |  | 501.7544
| 19:00 | 7.1267 | 7.071 | 7.0025 | 6.9774 | 7.0444 | 50.7895 | 50 | 49.0351 | 48.6842 | 49.6272 |  | 496.2719
| 20:00 | 6.9837 | 6.9837 | 6.9837 | 6.9837 | 6.9837 | 48.7719 | 48.7719 | 48.7719 | 48.7719 | 48.7719 |  | 487.7193
| 21:00 | 7.0025 | 7.0337 | 7.0587 | 7.0337 | 7.0322 | 49.0351 | 49.4737 | 49.8246 | 49.4737 | 49.4518 |  | 494.5175
| 22:00 | 7.04 | 7.0835 | 7.0586 | 6.9899 | 7.043 | 49.5614 | 50.1754 | 49.8246 | 48.8596 | 49.6053 |  | 496.0526
| 23:00 | 6.9522 | 6.9522 | 7.0896 | 7.1267 | 7.0302 | 48.3333 | 48.3333 | 50.2632 | 50.7895 | 49.4298 |  | 494.2982
|  |  | Max Static |  | 7.1267 |  |  | Max Diff |  | 50.7895 |  | Max Temp | 501.7544
|  |  | Min Static |  | 5.0046 |  |  | Min Diff |  | 25.1754 |  | Min Temp | 342.1053
|  |  | Avg Static |  | 6.5882 |  |  | Avg Diff |  | 43.5791 |  | Avg Temp | 435.7913

## Chart Types
Barton
Chart No. | Time | SqRt DP | Lin Pres | Lin Temp | Other | Dia | Can Read?
BUKC2051 | 24 Hour |  | 15000 |  |  | 11.25 | Can Add
BUKC2054 | 24 Hour |  | 5000 |  |  | 11.25 | Yes
BUKC2084 | 24 Hour |  | 30000 |  |  | 11.25 | Can Add
BUKC2632 | 24 Hour |  | 10000 |  |  | 11.125 | Yes
L570030 | 2 or 8 |  | 20 |  |  |  | Maybe
L10S | 7 day |  | 10 |  |  | 11.125 | Can Add
M150H | 24 Hour | 100 | 150 |  |  | 11.25 | Yes
MP1004H | 4 |  | 100 |  |  | 11.125 | Can Add
MP1500150F | 24 Hour |  | 1500 | 150 |  |  | Yes
MP500150F | 24 Hour |  | 500 | 150 |  | 11.125 | Yes
MP700 | 24 Hour |  | 700 |  |  | 11 | Can Add
MP700S | 7 Day |  | 700 |  |  | 11 | Can Add
MP100 | 24 Hour |  | 100 |  |  | 11 | Yes
MP10000 | 24 Hour |  | 10000 |  |  | 11.125 | Yes
P1500W200 | 24 Hour | 200 | 1500 |  |  |  | Yes
MP5000S | 7Day |  | 5000 |  |  | 11.125 | Can Add
BUNKC2008 | 24 Hour |  | 100 |  |  | 11.25 | Yes
L10 | 24 Hour | 10 |  |  |  | 11.125 | Yes
BUCK2012 | 24 Hour | 10 | 100 |  |  | 11.25 | Yes
20F1000T5P | 24 Hour |  | 5 | 300-1000 | 20 | 11.125 | Can add
175 | 24 Hour |  | 175 |  |  |  | Can Add
American Meter
L1010 | 24 Hour | 10 | 10 |  |  | 11.125 | Yes
L101000 | 24 Hour | 10 | 1000 |  |  | 11.125 | Yes
L10200 | 24 Hour | 10 | 200 |  |  | 11.125 | Yes
M100H | 24 Hour |  | 100 | 100 |  | 11.125 | Yes
M1500H200F | 24 Hour |  | 100 | 200 | 1500 | 11.125 | Yes
L10100 | 24 Hour | 10 | 100 |  |  | 11.125 | Yes
L101000S | 7Day | 10 | 1000 |  |  | 11.125 | Can Add
M100SH | 7Day |  | 100 | 100 |  | 11.125 | Can Add
M1000H | 24 Hour |  | 100 | 1000 |  | 11.125 | Yes
M400 | 24 Hour |  | 50 | 360 |  | 11.125 | Can Add
MP100 | 24 Hour |  | 100 |  |  | 11.125 | Yes
MP150001H | 1 |  | 15000 |  |  | 11.125 | Can Add
MP2500 | 24 Hour |  | 2500 |  |  | 11.125 | Yes
MP500012H | 12 |  | 5000 |  |  | 11.125 | Can Add
MP6000 | 24 Hour |  | 6000 |  |  | 11.125 | Can Add
L10 | 24 Hour | 10 |  |  |  | 11.125 | Yes
L10S | 7Day | 10 |  |  |  | 11.125 | Can Add
MP2000012H | 12 |  | 20000 |  |  | 11.125 | Can Add
MP15000 | 24 Hour |  | 15000 |  |  | 11.125 | Can Add
MP500S | 7 |  | 500 |  |  | 11.125 | Can Add
MP400100C | 24 Hour |  | 100 | 400 |  | 11.125 | Yes
MP1000100C | 24 Hour |  | 100 | 1000 |  | 11.125 | Yes
MP2000100C | 24 Hour |  | 100 | 2000 |  | 11.125 | Yes
MP5000100C | 24 Hour |  | 100 | 5000 |  | 11.125 | Yes
MP10000100C | 24 Hour |  | 100 | 10000 |  | 11.125 | Yes
M500H | 24 Hour |  | 100 | 500 |  | 11.125 | Yes
MP5000S | 7Day |  | 5000 |  |  | 11.125 | Can Add
L102000 | 24 Hour | 10 | 2000 |  |  | 11.125 | Yes
MP300001HR | 1 |  | 30000 |  |  | 11.125 | Can Add
M1500H | 24 Hour |  | 100 | 500 |  | 11.125 | Yess
L10100S | 7Day | 10 | 100 |  |  | 11.125 | Can Add
MP250S | 7Day |  | 250 |  |  | 11.125 | Can Add
MT200FS | 7Day |  | 200 |  |  | 11.125 | Can Add
MP500100F | 24 Hour |  | 100 | 500 |  | 11.125 | Yes
MP3000100F | 24 Hour |  | 100 | 3000 |  | 11.125 | Yes
M200H8D | 8Day |  | 100 | 200 |  | 11.125 | Can Add
M200SH150F | 7Day |  | 100 | 150 | 200 | 11.125 | Can Add
M200S150F | 7Day |  | 50 | 200 | 150 | 11.125 | Can Add
MP200002H | 2 |  | 20000 |  |  | 11.125 | Can Add
MP10000 | 24 Hour |  | 10000 |  |  | 11.125 | Yes
MP200001000 | 24 Hour |  | 1000 | 20000 |  | 11.125 | Yes
M200H200F | 24 Hour |  | 100 | 200 | 200 | 11.125 | Yes
M500H200F | 24 Hour |  | 10 | 200 | 500 | 11.125 | Yes
M1000H200F | 24 Hour |  | 100 | 1000 | 200 | 11.125 | Yes
M2000H200F | 24 Hour |  | 100 | 2000 | 200 | 11.125 | Yes
MP100150 | 24 Hour |  | 100 | 150 |  | 11.125 | Yes
GC71223 | 24 Hour |  | 1000 | -20 to -130 |  | 11.125 | Can Add
MP1000 | 24 Hour |  | 1000 |  |  | 11.125 | Yes
M1500SH | 7Day |  | 100 | 1500 |  | 11.125 | Can Add
MP50001HR | 1 |  | 5000 |  |  | 11.125 | Can Add
MP30000 | 24 Hour |  | 30000 |  |  | 11.125 | Can Add
MP100001H | 1 |  | 10000 |  |  | 11.125 | Can Add
MP150004H | 4 |  | 15000 |  |  | 11.125 | Can Add
MP50004H | 4 |  | 5000 |  |  | 11.125 | Can Add
M3000150 | 24 Hour |  | 150 | 3000 |  | 11.125 | Yes
MP1000S | 7Day |  | 1000 |  |  | 11.125 | Can Add
MP500 | 24 Hour |  | 500 |  |  | 11.125 | Yes
M100H100F | 24 Hour |  | 100 | 100 | 100 | 11.125 | Yes
L100 | 24 Hour | 100 |  |  |  | 11.125 | Yes
MP5000150F | 24 Hour |  | 150 | 5000 |  | 11.125 | Yes
M10000H150F | 24 Hour |  | 100 | 10000 | 150 | 11.125 | Yes
MP3000 | 24 Hour |  | 3000 |  |  | 11.125 | Yes
MP1000096MIN | 96 Min |  | 10000 |  |  | 11.125 | Cam Add
MP10031D | 31Day |  | 100 |  |  | 11.125 | Cam Add
P1000096MIN | 96Min |  | 10000 |  |  | 8 | Cam Add
M3000H | 24 Hour |  | 100 | 3000 |  | 11.125 | Yes
P150001HR | 1 |  | 15000 |  |  | 8 | Maybe
P150001HR60DIV | 1 |  | 15000 |  |  | 8 | Maybe
M250H | 24 Hour |  | 100 | 250 |  | 11.125 | Yes
M100H150F | 24 Hour |  | 100 | 100 | 150 | 11.125 | Yes
M100S | 7Day |  | 50 | 100 |  | 11.125 | Can Add
M1500400 | 24 Hour |  | 400 | 1500 |  | 11.125 | Yes
M5000150F | 24 Hour |  | 50 | 150 | 5000 | 11.125 | Yes
MP1000150F | 24 Hour |  | 150 | 1000 |  | 11.125 | Yes
MP1500 | 24 Hour |  | 1500 |  |  | 11.125 | Yes
MP1001H | 1 |  | 100 |  |  | 11.125 | Can Add
MW0100 | 24 Hour |  | 100 |  |  | 11.125 | Yes
MP5000 | 24 Hour |  | 5000 |  |  | 11.125 | Yes
MP100S | 7Day |  | 100 |  |  | 11.125 | Can Add

## Instructions
Absolute Accuracy Inc.
2451 Riverside Drive, Los Angeles CA 90039
Ph 323 662 9237 Fax 323 662 0904
Email bbrp@aol.com Web www.aaisurvey.com
Instructions for Model 3100
Chart Reader.
Easy Steps: 1. Press the Clear Report Data Button 2. Zero Set Arm and Set Platter to 24/00 and push Read Static Button. Complete Rotation of the chart to read the Static data. 3. Once data from the chart has been read, push enter to exit the screen and push the Process Static Button. 4. Choose Chart Scale from the Square Root or Linear selections. 5. Press the Clear Data Button. 6. Zero Set Arm and Set Platter to 24/00 and push Read Differential Button. Complete Rotation of the chart to read the Differential data. 7. Once data from the chart has been read, push enter to exit the screen and push the Process Differential Button. 8. Choose Chart Scale from the Square Root or Linear selections. 9. Press the Clear Data Button 10. Zero Set Arm and Set Platter to 24/100 and push Read Temp. Complete Rotation of the chart to read the Temperature Data 11. Once data from the chart has been read, push enter to exit the screen and push the Process Differential Button. 12. Choose Chart Scale from the Square Root or Linear selections. *Note If you choose the wrong chart type you can from the munu, clear the data (step 1) and process the data again. 13. Create Report, Compiles data from the 3 readings and sends the data to the Sales Calculation to get the daily total. 14. Enter the data in fields for your report. 15. Copy Form will save report to a new tab in the spredsheet. It can be copied to a new file and deleted if desired.
1. Install the driver software for the Model 3100. Remove CD from box and insert into Drive. Open Windows Explorer window to view contents of the CD. Open the Drivers directory and then open the appropriate directory for your computer, either 32bit or 64bit. If you are not sure which to choose, open the control panel from the windows start menu and choose System. The operating system you have will be listed under system type. Double click on the exe file and follow the instructions on the setup screens.
2. Copy files onto the computer’s hard drive “C”. Copy the entire directory A3100 on to the C:\\ Drive. There are three files critical to the operation of the 3100, ReadChart.exe, chartdata.txt and AAI3100-xxx.xls. Do not change the name of the ReadChart or chartdata files or try to use them in a different directory as they are location dependent and will not work in other drives or directories. If something happens to the files in the A3100 directory, you can recopy them from the CD. You must have a version of Microsoft Excel in order to operate the xls program. Open the file in Windows Excel (tested on Office 1997 2000, 2003, 2007, 2010). If you have Excel 2010 you may wish to open the AAI3100-xxx.xls file and save as macro enabled xlsm file. Make sure macros are enabled on your Excel program.
3. Setting up and testing the 3100. Remove instrument from box. (You can use inside the case if you prefer) On a flat table or desk next to PC or Laptop, plug the USB cable from the instrument to the PC. Place the chart on the center of the platter shaft and secure the chart to the platter with centering guide. The first time you plug in the USB cable into the PC there may be a few moments to install the driver software and register the 3100. (You may wish to test the Encoder-simple.exe file in the A3100 before opening up the Excel program. If the drivers have been installed correctly, and you double click on the Encoder-simple.exe, a dialog box will open. If the USB is not yet connected it will say waiting to be attached. If USB is attached there will be a serial number and some other data displayed. Rotate the chart anticlockwise and notice the dialog box will add a line for every position change of either the platter (0) or arm (1). The dialog box will record lines until the platter (0) position reaches -192 and will stop. Press the enter button and the dialog box will close.
4. Record a chart. Open the Excel Spreadsheet C:\A3100\AAI3100-xxx.xls. The spreadsheet must be set to allow macros. On Excel 2010 go to File/Options/Trust Center/Trusted Locations and put C:\A3100\ in the Allowed Paths. Upon opening the chart data screen will be open with a menu that controls the operation. If you close the menu you can re-open by pressing the Ctrl and Z keys at the same time. The first button on the top is the clear the chart. If there is a previous recording in the chart, you can clear the chart. The Excel file is a custom file based on the chart you use.The program is designed so that you can complete the operation of recording the chart without the need to enter anything on the spreadsheet. The txt file will retain the measurement data until the Read Data button is pressed. Whether you read new data in or reprocess old data remember to press the Clear Data button.
5. Position the chart onto the platter and set the reticule in the arm to the zero line (towards the center of platter) of the chart while setting the time position of the chart to the 12:00 A.M. Position. Note: You can use the dial on the arm stop to set zero position.
6. Check again that you are in zero position and 12:00AM.Sunday Activate the Read the Chart button to begin measuring operation.
7. Move the reticule on the arm up to where the line is recorded on the chart. The lines on the dialog window should advance as the arm moves up. Now move the platter anti-clockwise and follow the line with reticule moving the arm up and down as you turn the platter.
8. After complete rotation, and all the chart values are recorded into the dialog box. The dialog box will stop recording when the platter (0) reaches 192. Press the enter key to close the dialog box. Next press the Process Data button. The spreadsheet screen fills with the data from the chart. Partial reading of the chart is possible if you make sure to have reticule arm resting at zero until reading starts as you turn chart.
9. Analyze your results. You can then fill in the appropriate boxes with information about your chart. Average values from all of the chart readings will be available on the different sheets stored in this file. You can delete them or copy them to a different file if desired.
10. Types of charts. There are two basic types of recording charts, linear and square root scaled. Some charts have both scales on one chart. The basic difference between linear and square root scale is that linear evenly divides the scale from top to bottom with equal increments. The square root scale starts off with small increments at the bottom of the scale and exponentially increases the distance between graduations at the top of the scale. The purpose of this is to increase the accuracy by giving more of the measuring range where the activity is taking place. There are a variety of ranges for the scale or sometimes there is a percentage scale. ‘The formula in the spreadsheet program is based on the chart you use. The information provided and results derived are for information purposes only. Absolute Accuracy and its associates assume no liability for any decision or consequence of any action based on any results or information provided from this device or software.